## About
BPMCCS BAU Policy Mandated Capacity Construction Schedule
Sources: | Capacity Additions till 2027 (conventional sources) | Capacity Additions 2027-30 (for calculation only - not used)
| Central Electricity Authority | Central Electricity Authority
| National Electricity Plan | Draft Report on Optimal Generation Mix for 2029-30
| 2018 | 2019
| http://www.cea.nic.in/reports/committee/nep/nep_jan_2018.pdf | http://cea.nic.in/reports/others/planning/irp/Optimal_generation_mix_report.pdf
| Annexures 5.1, 5.2, 5.3, 5.4 | Table 4
| Capacity Additions till 2022 (RES) | RE Wind, Solar, Biomass, SHP capacity target - 2022
| Central Electricity Authority | NITI Aayog
| National Electricity Plan | Report of the Expert Group on 175 GW RE by 2022
| 2018 | 2015
| http://www.cea.nic.in/reports/committee/nep/nep_jan_2018.pdf | https://niti.gov.in/writereaddata/files/175-GW-Renewable-Energy.pdf
| Table 6.3 | Page iv
| Actual RE capacity additions 2018, 2019 | RE Wind, Solar, Biomass, SHP capacity target - 2022
| Central Electricity Authority | NITI Aayog
| Monthly Installed Capacity Reports | Report of the Expert Group on 175 GW RE by 2022
| Dec 2018, Dec 2019 | 2015
| http://cea.nic.in/reports/monthly/installedcapacity/2018/installed_capacity-12.pdf | https://niti.gov.in/writereaddata/files/175-GW-Renewable-Energy.pdf
| http://cea.nic.in/reports/monthly/installedcapacity/2019/installed_capacity-12.pdf | Page iv
| Analysis of progress towards 175 GW target | News on removal of tariff caps for solar and wind auctions
| CRISIL | MERCOM India
| REturn to Uncertainty | MNRE Mulls Removal of Tariff Caps for Solar and Wind Tenders
| 2019 | 2020
| https://www.crisil.com/en/home/our-analysis/reports/2019/10/return-to-uncertainty.html | https://mercomindia.com/mnre-mulls-removal-tariff-caps-solar-wind/
Projected RE installed capacity for FY22
Classification of large hydro as RE
Hindu/Central Electricity Authority
New hydro policy to help meet renewables target
2019
https://www.thehindu.com/business/Economy/hydro-policy-target/article26561711.ece
Note:
The purpose of this variable is to specify the electricity generating capacity
in MW that will be built each year in the BAU case before the model considers
what else to build in order to satisfy demand, satisfy an RPS (in the policy
case), etc.
Conventional Sources (including large hydro): National Electricity Plan (NEP) is considered
the main source for capacity additions till 2027 for conventional sources.
Renewable Energy Sources (RES):
RES addition is adjusted by NEP to reach 175 GW by 2022. However, the target is less than 50% reached as of 2019
with downward trends in solar and wind capacity additions in the recent years. A study by CRISIL
estimates that only 104 GW would be achieved by 2022 (which is ~60% of the intended target),
due to various hurdles in project commissioning.
However, there are recent reports of potential removal of tariff caps for solar and wind tenders,
which have been a significant barrier for tender participation in the RE auctions.
Further, there is a reclassification of larger hydro as RE recently, which could technically
make it possible to reach, or even surpass the 175 GW target by 2022 in terms of a combined
RE target. But since the 175 GW target was disaggregated (for wind, solar, biomass and SHP),
we interpret the overall RE target to be achieved on reaching the disaggregated targets,
and not just by adding large hydro to the mix, which would significantly increase the size of RE.
We assume that with recent public announcements of a 450 GW target by 2030, and the
potential removal of tariff caps for wind and solar tenders, it would be possible to reach about
80% of the mandated RE target by 2022. The balance capacity remaining, after subtracting the
current RE capacities for each source, is divided between 2020 to 2022 for wind and solar.
For SHP, biomass (and MSW), the targets are already almost reached, and we assume that
they will continue to grow at the same rate till 2022 to help reach the 175 GW combined target.
The success rate % can be changed in the About tab to accordingly assess the yearly balance
capacity additions to reach the "adjusted" target.
0.8 | Fraction of RE target achievable by 2022
The mandated yearly capacity is added only form 2019 onwards, as the capacity added in 2018 is already
accounted in 'Start Year Capacities' variable which has installed capacity as of December, 2018.
In case of 2019, actual capacity added is used for the mandated values as actuals are available.
This helps to keep the BAU closer to reality.
Note: The draft Optimal Generation Mix for 2029-30 by CEA contains higher targets of RE by 2030 which would be in line with NDC target of:
40% installed capacity is from non-fossil fuels.
If we subtract [existing capacity + NEP additions till 2022] from the 2030 target of the optimal gen mix,
we are still left with a balance of capacities that can be added between 2023-30, for wind, solar, hydro and coal.
(Further, there are media reports of verbal announcements of a 450 GW RE target by 2030, under the Paris Agreement.
However, the target is yet to be reflected in official policy documents of MNRE or CEA).
Hence, we don't account for this balance capacity between 2023-30, as the draft report is not an official plan like the NEP,
and more suited to a high RE scenario than a BAU.

## MNRE+CEA
Year-wise targets of Renewable Energy Sources (MW) | [5 empty] | Total installed capacity (2029-30) | 831502 | Committed Capacity Additions (MW) | 2017-2022 | 2022-2027
Category | Capacity Addition * |  |  |  |  | Hydro | 64089 | Coal | 47855 | 0
| 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | Small hydro | 5000 | Nuclear | 3300 | 6800
Solar | 15000 | 16000 | 19000 | 19000 | 18711 | Hydro imports | 4356 | Natural Gas Nonpeaker | 406.15 | 0
Wind | 4700 | 5300 | 6000 | 6000 | 5720 | Gas | 24350 | hydro | 6822.5 | 0
Biomass | 350 | 350 | 350 | 350 | 304 | Coal | 266827 | Source: CEA - National Electricity Plan Vol I
Small Hydro | 100 | 100 | 100 | 100 | 220 | Nuclear | 16880
|  |  |  | Total | 117755 | Solar | 300000
*The capacity has been adjusted to arrive at total RES capacity of 175 GW by 2021-22 | [5 empty] | Wind | 140000
Source: CEA - National Electricity Plan Vol I | [5 empty] | Biomass | 10000
[6 empty] | Battery storage | 34000
Source: CEA's optimal generation mix for 2029-30
| Capacity as on 30.09.2019 | As on2022 | As on 2027 | Balance from 2030 optimal mx
Coal | 196895 | 244750 |  | 22077
Lignite | 6260
Gas | 24937 | 25343.15 |  | -993.15
Diesel | 510
Nuclear | 6780 | 10080 | 16880 | 0
Hydro | 45399 | 52221.5 |  | 11867.5
Small Hydro | 4611 | 5231 |  | -231
Wind | 36930 | 64650 |  | 75350
Biomass | 9946 | 11650 |  | -1650
Solar | 31102 | 118813 |  | 181187
Note on B15: Deepthi Swamy: CEA Monthly Installed Capacity report - Sep 2019

## RE target adjustment
Official RE target for 2022 |  |  |  | Balance Capacity Addition required to meet realistic/expected target |  |  | Actual Installed Capacities for RE in 2018 and 2019
2022 RE Target (GW) | 175 | % ratio |  | Expected target achievement (MW)* | 140000 | Balance requirement |  | Installed Capacity (MW)
Solar PV | 100 | 0.57143 |  | Solar PV | 80000 | 46269.44 | Year | Hydro | SHP | Wind | Biomass | MSW | Solar PV
Wind | 60 | 0.34286 |  | Wind | 48000 | 10494.82 | 2018 | 45399.22 | 4517.45 | 35138.15 | 9075.5 | 138.3 | 25212.26
SHP | 5 | 0.028571 |  | SHP | 5000 |  | 2019 | 45399.22 | 4671.56 | 37505.18 | 9861.31 | 139.8 | 33730.56
Biomass | 10 | 0.057143 |  | Biomass | 10000 |  | Source: CEA monthly reports for Dec 2018, 2019
Source: NITI Aayog |  |  |  | * Calculated based on success rate fraction in About tab
Installed Capacity Actuals (2018, 2019) & Balance required to reach expected target
Category | Installed Capacity (MW)
| 2018 | 2019 | 2020 | 2021 | 2022
Solar | 25212.26 | 33730.56 | 49153.7067 | 64576.8533 | 80000 | ¦
Wind | 35138.15 | 37505.18 | 41003.4533 | 44501.7267 | 48000 | ¦<-- Balance requirement capacity added till 2022 (wind and solar)
Biomass | 9075.5 | 9861.31 | 10647.12 | 11432.93 | 12218.74 | ¦
SHP | 4517.45 | 4671.56 | 4825.67 | 4979.78 | 5133.89 | ¦<-- Trend based (2018 - 2019) capacity added till 2022 (biomass, SHP and MSW)
MSW | 138.3 | 139.8 | 141.3 | 142.8 | 144.3 | ¦
Actual Yearly addition (2019) and balance yearly capacity to reach expected target
Category | Yearly Capacity Addition (MW)
| 2018 | 2019 | 2020 | 2021 | 2022
Solar |  | 8518.3 | 15423.1467 | 15423.1467 | 15423.1467
Wind |  | 2367.03 | 3498.2733 | 3498.2733 | 3498.2733
Biomass |  | 785.81 | 785.81 | 785.81 | 785.81
SHP |  | 154.11 | 154.11 | 154.11 | 154.11
MSW |  | 1.5 | 1.5 | 1.5 | 1.5
Note on I4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: http://cea.nic.in/reports/monthly/installedcapacity/2018/installed_capacity-12.pdf
Note on I5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: http://cea.nic.in/reports/monthly/installedcapacity/2019/installed_capacity-12.pdf

## Calcs
Year | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
hard coal (MW) | 0 | 9571 | 9571 | 9571 | 9571
natural gas nonpeaker (MW) | 0 | 81.23 | 81.23 | 81.23 | 81.23
nuclear (MW) | 0 | 660 | 660 | 660 | 660 | 1360 | 1360 | 1360 | 1360 | 1360
hydro (MW) | 0 | 1518.61 | 1518.61 | 1518.61 | 1518.61
onshore wind (MW) | 0 | 2367.03 | 3498.2733 | 3498.2733 | 3498.2733
solar PV (MW) | 0 | 8518.3 | 15423.1467 | 15423.1467 | 15423.1467
solar thermal (MW)
biomass (MW) | 0 | 785.81 | 785.81 | 785.81 | 785.81
geothermal (MW)
petroleum (MW)
natural gas peaker (MW)
lignite (MW)
offshore wind (MW)
crude oil
heavy or residual fuel oil
municipal solid waste |  | 1.5 | 1.5 | 1.5 | 1.5

## BPMCCS
Mandated Construction (MW) | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
hard coal | 0 | 0 | 0 | 0 | 9571 | 9571 | 9571 | 9571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas nonpeaker | 0 | 0 | 0 | 0 | 81.23 | 81.23 | 81.23 | 81.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
nuclear | 0 | 0 | 0 | 0 | 660 | 660 | 660 | 660 | 1360 | 1360 | 1360 | 1360 | 1360 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydro | 0 | 0 | 0 | 0 | 1518.61 | 1518.61 | 1518.61 | 1518.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
onshore wind | 0 | 0 | 0 | 0 | 2367.03 | 3498.2733 | 3498.2733 | 3498.2733 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar PV | 0 | 0 | 0 | 0 | 8518.3 | 15423.1467 | 15423.1467 | 15423.1467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biomass | 0 | 0 | 0 | 0 | 785.81 | 785.81 | 785.81 | 785.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas peaker | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lignite | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
offshore wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
crude oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
heavy or residual fuel oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
municipal solid waste | 0 | 0 | 0 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0