## About
DSCF Distributed Solar Capacity Factor
Source: | CUF trajectories | CUF for base year and 2050
| NITI Aayog, Government of India | Ministry of New and Renewable Energy
| 2015 | 2016
| India Energy Security Scenarios 2047 downloadable Excel model | Performance analysis of Grid Connected Solar Power projects commissioned under Phase –I of JNNSM
| http://indiaenergy.gov.in/iess/docs/IESS_Version2.2.xlsx | https://mnre.gov.in/file-manager/UserFiles/Performance-analysis-of-Grid-Connected-Solar-Power-Projects-Commissioned-under-Phase%20%e2%80%93I.pdf
| Tab IV.e | Table 2
| Karnataka Normative CUF | Tamilnadu Normative CUF
| Karnataka Electricity Regulatory Commission | Tamil Nadu Electricity Regulatory Commission
| 2018 | 2019
| Determination of Tariff & other norms in respect of new solar power projects (ground mounted and solar rooftop PV units) | Order on generic tariff for Solar power and related issues
| https://bescom.org/wp-content/uploads/2018/06/OMNew-SRTPV-tariff-for-entering-into-PPAs-from-01.04.2018-to-31.03.2019.pdf | http://www.tnerc.gov.in/orders/Tariff%20Order%202009/2019/Solar-5-29-03-2019.pdf
| Point 4, Page 9 of tariff order | Point 4, Page 48
Notes:
For setting base year CUF in 2017, we refer to the performance analysis of grid-connected
solar power projects under JNNSM, by MNRE in 2016. This is higher than
2017 value in IESS.
Current (2019) normative CUFs specific to roopftop PV are not mentioned in CERC's tariff orders.
The performance of plants varies by state, due to changes in resource quality and other factors.
The recent state tariff orders for representative states with good quality solar resource use
a normative CUF of 19%.
In terms of scaling for 2050, we observe a faster improvement from 2017-19,
(based on normative CUF of 19%) in BAU policies, as compared to IESS projections
which peak to 19% only by 2047. Hence, we improve the CUF to 19% by 2020. Beyond 2020,
we refer to the best CUF in Phase II of JNNSM as a maximum that is attainable in the model run.
This is based on improvements observed in terms of moving towards optimal siting of the
solar systems in the interest of economic attractiveness of the project (bulk of the Phase II
projects are deployed in Rajasthan). We assume that this is an efficiency that is
going to be built into the BAU scenario with increasing systems being deployed.

## India Data
Capacity Utilization factor
Fuel | Plant type | Notes | 2007 | 2012 | 2017 | 2022 | 2027 | 2032 | 2037 | 2042 | 2047
R.01 | Solar |  | 0% | 16% | 17% | 17.25% | 17.5% | 17.75% | 18% | 18.5% | 19%
Source: IESS v2, Tab IV.e
|  |  | 2032: Improvement (upto 2020); 2042: 2017; 2047: 2020 | 2020-2050 | 2020 | 2050
|  |  | 2042: 17.91%; 2047: 19% |  | 19% | 23.67%
Capacity Factor (interpolated) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| 17.91% | 18.27% | 18.64% | 19% | 19.16% | 19.31% | 19.47% | 19.62% | 19.78% | 19.93% | 20.09% | 20.25% | 20.4% | 20.56% | 20.71% | 20.87% | 21.02% | 21.18% | 21.34% | 21.49% | 21.65% | 21.8% | 21.96% | 22.11% | 22.27% | 22.42% | 22.58% | 22.74% | 22.89% | 23.05% | 23.2% | 23.36% | 23.51% | 23.67%

## JNNSM Performance data
Month wise Average net exported solar power (KWh/MW) and CUF (%) for Phase-I
Month (Jan 2014-Dec 2014) | CUF (%)Phase-I, Batch-I | CUF (%)Phase-I, Batch-II
Jan | 11.71 | 17.95
Feb | 14.44 | 20.67
Mar | 16.49 | 22.54
Apr | 17.44 | 23.67
May | 21.27 | 22.63
Jun | 16.3 | 22.68
Jul | 12.87 | 19.9
Aug | 13.97 | 20.48
Sep | 15.74 | 21.5
Oct | 14.53 | 20.71
Nov | 12.33 | 19.9
Dec | 11.57 | 18.49
Average | 14.8883 | 20.9267
Max |  | 23.67
Avg (Batch I & II) |  | 17.9075
Source: MNRE
Table 2

## DSCF
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Capacity Factor | 0.17908 | 0.18272 | 0.18636 | 0.19 | 0.19156 | 0.19311 | 0.19467 | 0.19623 | 0.19778 | 0.19934 | 0.2009 | 0.20245 | 0.20401 | 0.20557 | 0.20712 | 0.20868 | 0.21024 | 0.21179 | 0.21335 | 0.21491 | 0.21646 | 0.21802 | 0.21958 | 0.22113 | 0.22269 | 0.22425 | 0.2258 | 0.22736 | 0.22892 | 0.23047 | 0.23203 | 0.23359 | 0.23514 | 0.2367