## About
BPHC BAU Pumped Hydro Capacity
Source: | Central Electricity Authority
2019-09-01
Pumped Storage Development in India
http://www.cea.nic.in/reports/monthly/hydro/2019/pump_storage-09.pdf
Note:
Only those schemes are considered which are:
a) currently operational
b) undergoing repairs (with likely time of completion mentioned)
c) under construction (with likely commissioning years mentioned)

## CEA
PUMPED STORAGE DEVELOPMENT IN INDIA
(Installed Capacity above 25 MW)
As on 30.09.2019
Installed Capacity
S.No. | SCHEMES | no. of units X unit size (MW) | MW | Remarks
A. Schemes Constructed
a) Working in pumping mode
1 | Nagarjuna Sagar -Telangana | 7x100.80 | 705.6
2 | Kadamparai -T.N | 4x100 | 400
3 | Bhira -Mah. | 1x150 | 150
4 | Srisailam LBPH -Telangana | 6x150 | 900
5 | Purlia PSS -W.B. | 4x225 | 900
6 | Ghatgar -Mah. | 2x125 | 250
|  | Working tot. | 3305.6
A. Schemes under construction
1 | Tehri St.-II -Uttarakhand | 4x250 | 1000 | Likely commissioning by 2021-23 (June’22)
2 | Koyna Left Bank -Mah. | 2x40 | 80 | Likely commissioning by 2022-23
3 | Kundah Pump Storage (Stage I,II,II&IV)-T. N | 4x 125 | 500 | Likely commissioning by 2022-23

## BPHC
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Pumped Storage Capacity (MW) | 3305.6 | 3305.6 | 3305.6 | 3305.6 | 3305.6 | 3305.6 | 4305.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6 | 4885.6